## ガイド
APIポンプデータシート出力用のデータ一覧表
１． | 目的
異なる種類のポンプデータが混在したデータファイルです。データはシート「I_F」です。
下記の別出力ファイルにて、当データから各種専用のAPI相当のデータシートにマクロ出力します。
サンプルファイル：Pump_Data_API_Output.xlsm及びPump_Non_API_Output.xlsm
当ファイルはマクロを含んでいます。マクロを格納できる拡張子xls（Excel97-2003）にしています。
Excel2007以降のバージョン用のファイル形式で扱う場合、マクロを格納できる拡張子xlsmにしてください。（xlsxはマクロを格納できません。）
拡張子xlsは便利な面もありますが、セキュリティが低いこととExcel2007以降で共有にするとエラー・フリーズする場合があるなどデメリットもあります。
２． | シート「I_F」の説明
１） | シート「I_F」がAPI相当またはNon-APIポンプデータシート出力用のデータ一覧表です。
２） | シート「I_F」のシート名は変更できません。（変更すると出力用ファイルのマクロがエラーになります。）
３） | データ項目と順序は変更不可です。項目名の記述は変更可能です。（列でデータの内容が決まっています。）
４） | Centrifugal、Non-Seal(Canned)、Rotary、Reciprocating、Meteringの5種類のデータを入力できます。
Ｎ列の"Pump Type"データで分類します。
３． | 入力要領
１） | シート「I_F」4行目の見出しを参照してデータを入力します。（サンプル・データを参照してください。）
２） | Ｎ列他所定の内容を入力する必要がある項目はプルダウンメニューになっています。
（シート「Data」は各種プルダウンメニュー用のデータリストです。）
プルダウンメニューのセルを縦方向にコピー・貼り付けることでデータ範囲を拡張できます。
３） | プルダウンに空白選択がないものはメニューのアイテム以外は手入力できません。但し、Deleteキーで空白表示にできます。
注意：検索-置換で書き換えができますので、検索-置換をしない様にしてください。
プルダウンに空白選択があるものはメニューのアイテム以外も手入力できます。
４） | シート「I_F」のデータ表では、データ行間に空白行を2行まで挿入できます。
空白行が連続で3行あった場合、マクロはそれ以上データがないと判断します。
５） | ポンプ形式に応じた入力列を選択するマクロを含んでいます。
シート「I_F」のB2からGF2セルにある各ポンプ形式の選択ボタンをクリックすると入力が必要ない列を非表示にします。
４． | その他
１） | シート「I_F」に入力のサンプルデータは出力テスト用です。実用とかけ離れているデータもあります。
単位の書き換えテスト用に一部ポンプの単位にT1～のダミーデータを入力しています。

## I_F
Pump DataBase | [98 empty] | Material | Material | Material | Material | Material | Material | Material | Material
Common | [6 empty] | Common | Common | Common | Common | Common | Common | Common | Common | Common | Common | Common | Common | Common | Common | Common | Common | Common | Common | Common | CE/CA | Common | Common | Common | Common | Common | Common | Common | Common | Common | Common | Common | Common | Common | Common | Common | Common | Common | Common | Common | Common | Common | Common | Common | Common | Common | Common | Common | CE/CA | CE/CA | Common | Common | Common | Common | Common | Common | Common | Common | Common | CE/CA | Common | Common | Common | CE | CE | Common | Common | Common | Common | CE/CA/RO | CE/CA/RO | Common | Common | Common | Common | CE/RO | CE/RO | CE/CA/RO | CE/CA/RO | CE/CA/RO | CE/CA/RO | CE/RO | CE/CA/RO | CE/CA/RO |  | Common | Common | Common | Common | CE | CE/CA/RO | CE/CA/RO | CE/CA/RO | Common | Common | Common | Common | Common | Common | Common | Common | Common | Common | Common | Common | CE | Common | CA | CA | CA | CA | CA | CA | CA | CA | CA | CA | CA | RO/RE/ME | RO/RE/ME | RO/RE/ME | RO/RE/ME | RO/RE/ME | RO/RE/ME | RO | RO | RO | RO | RE/ME | RE/ME | RE/ME | RE | RE | RE | RE | RE | RE | RE | RE | RE | RE | RE | RE | RE | Common | Common | Common
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55 | 56 | 57 | 58 | 59 | 60 | 61 | 62 | 63 | 64 | 65 | 66 | 67 | 68 | 69 | 70 | 71 | 72 | 73 | 74 | 75 | 76 | 77 | 78 | 79 | 80 | 81 | 82 | 83 | 84 | 85 | 86 | 87 | 88 | 89 | 90 | 91 | 92 | 93 | 94 | 95 | 96 | 97 | 98 | 99 | 100 | 101 | 102 | 103 | 104 | 105 | 106 | 107 | 108 | 109 | 110 | 111 | 112 | 113 | 114 | 115 | 116 | 117 | 118 | 119 | 120 | 121 | 122 | 123 | 124 | 125 | 126 | 127 | 128 | 129 | 130 | 131 | 132 | 133 | 134 | 135 | 136 | 137 | 138 | 139 | 140 | 141 | 142 | 143 | 144 | 145 | 146 | 147 | 148 | 149 | 150 | 151 | 152 | 153
Job No. | Owner | Site | Area | PO | Spec_No | Date | By | Enquiry_No. | Item_No. | Item_No._Main | Item_No._Stadby | Service | Pump Type | Rev. No. | TYPE-2 | Work-Qty | Standby-Qty | Driver-Main | Driver-Main Item No. | Driver-Standby | Driver-Standby Item No. | Out-In door | Hazard | Continuous | Para. Ope. (Yes/No) | Series with | Fluid | Hazard/Flammable/Other | Temp-Min | Temp-Nor | Temp-Max | Unit_Temp | SPGR-Min | SPGR-Nor | SPGR-Max | Vap. Press-Min | Vap. Press-Nor | Vap. Press-Max | Unit Vap. Press | Vis-Min | Vis-Nor | Vis-Max | Unit_Vis | Specific Heat (CP) | Unit_CP | Cl Content | Unit_Cl | H2S Content | Unit_H2S | Solidify-Point | Unit_ST_Point | Corrosive | Solid | Min Flow | Nor Flow | Des Flow | Unit_Flow Rate | Suct. Press | Suct. Press-Max | Dis. Press | Dis. Press.-Max | Unit_Press | Diff. Press | Unit_Diff Press | Head | NPSHA | Unit_NPSH | Desgn Press | Pit Depth | Unit_Depth | Suct. Nozzle Rate | Disch Nozzle Rate | Suct. Nozzle Position | Disch Nozzle Position | Casing Mount | Casing Split | Heat Jacket | Cool Jacket | Insulation | Shaft Seal | API/Seal | Single/Double | Self/External | Fluid-Ex Flash | Quench | Fluid-Quench | API Piping | Strainer | Cyclone | Pipe Class | Bearing Lubrication | Casing Vent/Drain | Base Plate | Base Plate Drain | MT'L API | Min. Metal Temp | Unit_M_Temp | Reduced Hardness | Casing// Cylinder | Impeller/ Rotor/ Plunger | Shaft// Liner | Sleeve// Piston Ring or Diaphragm | Wear Ring/Vane/ Piston Rod | Rotat of Seal// Valve | Stationary of Seal// Valve Seat | Case Gasket// Shaft Seal | Code | Power | Unit_Power | Coupling// Diver Type | Coupling Spacer (Req'd/Non) | Max dBA Required | Material Canned-Rotor Cover | Material Canned-Stator Cover | Material Canned-Bearing | Material Canned-Color | Canned-BRG Monitor | Canned-Thermostat | Canned-Rotate Monitor | Canned-Dry Ope Prevent | Canned-Cable Gland | Canned Const. Note-1 | Canned Const. Note-2 | Positive Disp.-Flow Control | Positive Disp.-Valiable Speed | Positive Disp.-Control Type/Signal | Positive Disp.-Relief Valve | Positive Disp.-Relief Valve Set Press | Positive Disp.-Unit_Set Press | Rotary-Pump Type | Rotary-BRG Int'l/Ext'l | Rotary-Rotor Mount | Rotary-Timing Gear | Recipro-Accelerated NPSH | Recipro-Liquid End | Recipro-Planger/Piston/Diaphragm | Recipro-Single/Double Acting | Recipro-Cylinder No. | Recipro-Cylinder Layout | Recipro-Liner | Recipro- Valve Type | Surge Suppressor | Recipro-Drive Gas | Recipro-Drive Gas Inlet Press | Recipro-Unit_Press | Recipro-Inlet Temp | Recipro-Unit_Temp | Recipro-Drive Gas Exhaust Press | Recipro-Governor | NOTE1 | NOTE2 | NOTE3
2F2013XXX | ABCD Oil Ltd. | XXX Plant | AA Area | PO-1234567 | XX-S-ZZ-DS-001-01 | 2015-05-14 | AH | IQ-XXX-0001 | PU-250AB | PU-250A | PU-250B | Fluid-A Supply Pump | CENTRI | 0 | Horizontal | 1 | 1 | Motor | PU-650A/M | Motor | PU-650B/M | Outdoor | Class I Div1 | Continuous | Yes | PU-650AB | Fluid-A | Hazardous | 10 | 20 | 30 | T1 | 0.756 | 0.798 | 0.84 | 12.1 | 14.55 | 17 | T2 | 0.54 | 0.66 | 0.78 | T3 | 2.2 | T4 |  | T5 | 0.03 | T6 | 87 | T7 | H2S | Sand | 2.2 | 5.75 | 23 | T8 | -0.11 | -0.132 | 0.35 | 0.385 | T9 | 0.46 | T10 | 55.9 | 9.3 | T11 | 0.462 |  | T12 | 150# RF | 150# RF | End | Top | Centerline | Radial | Yes | Yes | H-125mm | Mech Seal | 51 | Double | External | Water | Yes | Water | 41 | No | Yes | Class-a | Oil Splash | Valve | Oil Pan | Valve | 31 | -164 | T12 | Req'd | SCS13 | SCS13 | CS | SS | CS | CS | Carbon | Non-Asbestos | API610 | 15 | T13 | Direct/Flexible | Req'd | 85 | [37 empty] | test1-PU-250AB | test2-PU-250A | test3-PU-250B
2F2013XXX | ABCD Oil Ltd. | XXX Plant | AA Area | PO-1234567 | XX-S-ZZ-DS-001-02 | 2015-05-14 | AH | IQ-XXX-0001 | PU-251ABC | PU-251AB | PU-251C | Fluid-B Supply Pump | CENTRI | 0 | Vertical | 2 | 1 | Motor | PU-651AB/M | Turbine | PU-651C/T | Indoor | Class I Div2 | Intermittent | Yes |  | Fluid-B | Flammable | 5 | 15 | 25 | °C | 0.78 | 0.793 | 0.805 | 5.3 | 10.65 | 16 | kPa | 0.54 | 0.66 | 0.78 | mPa∙s | 2.1 | kJ/kg·K | 0.1 | mg/kg | 0.02 | ppm |  | °C | H2S | Sand | 1.2 | 3.87 | 5.8 | m3/h | 0.01 | 0.012 | 0.21 | 0.231 | Mpa | 0.2 | Mpa | 25.4 | 7.8 | m | 0.2772 | 3.4 | m | 150# RF | 150# RF | Side | Side | Near Centerline | Axial | No | No | No | Gland Packing | 51 | Single | Self |  | No |  | 42 | No | No | Class-a | Forced Feed | None | MFR Std | Plug | 31 |  | °C |  | SCS13 | SCS13 | SS | SS | SS | SS | SS | Non-Asbestos | API610 | 16 | KW | Direct/Flexible | Req'd | 80 | [37 empty] | test1-PU-251ABC | test2-PU-251AB | test3-PU-251C
2F2013XXX | ABCD Oil Ltd. | XXX Plant | BB Area | PO-1234567 | XX-S-ZZ-DS-001-03 | 2015-05-14 | AH | IQ-XXX-0001 | PU-352AB | PU-352A | PU-352B | Fluid-C Supply Pump | CENTRI | 0 | Horizontal | 1 | 1 | Motor | PU-652A/M | Motor | PU-652B/M | Indoor-Heated | Non-Hazard | Continuous |  | PU-650AB | Fluid-C | Flammable | 5 | 15 | 25 | °C | 0.78 | 0.793 | 0.805 | 5.3 | 10.65 | 16 | kPa | 0.54 | 0.66 | 0.78 | mPa∙s | 2.1 | kJ/kg·K |  |  |  | ppm |  | °C |  |  | 1.3 | 3.87 | 5.8 | m3/h | 0.02 | 0.024 | 0.16 | 0.176 | Mpa | 0.14 | Mpa | 17.7 | 6.9 | m | 0.2112 |  |  | 150# RF | 150# RF | End | Top | Centerline | Radial | No | No | No | Gland Packing | 51 | Single | Self | No | No |  | 42 | No | No | Class-a | Oil Splash | Valve | Oil Pan | Valve | 31 |  |  |  | SCS13a | SCS13 | SS1 | SS2 | SS3 | SS4 | SS5 | Non-Asbestos | API610 | 18 | KW | Direct/Flexible | Req'd | 80 | [37 empty] | test1-PU-352AB | test2-PU-352A | test3-PU-352B
2F2013XXX | ABCD Oil Ltd. | XXX Plant | BB Area | PO-1234567 | XX-S-ZZ-DS-003-01 | 2015-05-14 | AH | IQ-XXX-0003 | PU-353AB | PU-353A | PU-353B | Heavy Oil-A Pump | ROTARY | 0 | Horizontal | 1 | 1 | Motor | PU-654A/M | Motor | PU-654B/M | Outdoor | Non-Hazard | Continuous | Yes |  | Heavy Oil-A | Flammable | 10 | 20 | 30 | T1 | 0.99 | 1.045 | 1.1 | 8 | 10.5 | 13 | T2 | 0.9 | 1 | 1.1 | T3 | 1.9 | T4 | 0.2 | T5 | 0.12 | T6 | 5 | T7 | KT | Sand |  |  | 5.8 | T8 | 0.03 | 0.036 | 0.17 | 0.187 | T9 | 0.14 | T10 |  | 9.5 | T11 | 0.2244 |  |  | 150# RF | 150# RF | Side | Side | Foot | Radial | Yes | No | H-125mm | Mech Seal | 51 | Single | External | Water | Yes | Water | 43 | No | No | Class-a | Oil Ring | Valve | Skid | Valve | 31 | -126 | T12 | Req'd | SCS13a | SCS13 | CS1 | SS1 |  | CS3 | Carbon | Non-Asbestos | API676 | 22 | T13 | Direct/Flexible | Yes | 80 | [11 empty] | Variable Speed | Bayer | Pneumatic | Integrated | 0.1955 | T14 | Internal Gear | Internal | Overhung | No | [16 empty] | test1-PU-353AB | test2-PU-353A | test3-PU-353B
2F2013XXX | ABCD Oil Ltd. | XXX Plant | BB Area | PO-1234567 | XX-S-ZZ-DS-001-04 | 2015-05-14 | AH | IQ-XXX-0001 | PU-354AB | PU-354A | PU-354B | Fluid-D Supply Pump | CENTRI | 0 | Horizontal | 1 | 1 | Motor | PU-653A/M | Motor | PU-653B/M | Indoor-Unheated | Class I Div2 | Continuous |  |  | Fluid-D | Flammable | 5 | 15 | 25 | °C | 0.78 | 0.793 | 0.805 | 5.3 | 10.65 | 16 | kPa | 0.54 | 0.66 | 0.78 | mPa∙s | 2.1 | kJ/kg·K |  |  |  | ppm | 85 | °C |  |  | 1.4 | 3.87 | 5.8 | m3/h | 0.025 | 0.03 | 0.21 | 0.231 | Mpa | 0.185 | Mpa | 23.5 | 8.7 | m | 0.2772 |  |  | 150# RF | 150# RF | End | Top | Separate Mount | Radial | No | No | No | Mech Seal | 51 | Single | Self | No | No |  | 42 | No | No | Class-a | Oil Ring | Valve | Skid | Valve | 31 |  |  |  | SCS13a | SCS13 | SS1 | SS2 | SS3 | SS4 | SS5 | Non-Asbestos | API610 | 21 | KW | Direct/Flexible | Req'd | 80 | [37 empty] | test1-PU-354AB | test2-PU-354A | test3-PU-354B
2F2013XXX | ABCD Oil Ltd. | XXX Plant | BB Area | PO-1234567 | XX-S-ZZ-DS-003-01 | 2015-05-14 | AH | IQ-XXX-0003 | PU-355AB | PU-355A | PU-355B | Heavy Oil-B Pump | ROTARY | 0 | Horizontal | 1 | 1 | Motor | PU-654A/M | Motor | PU-654B/M | Indoor | Class I Div1 | Intermittent | Yes |  | Heavy Oil-A | Flammable | 10 | 20 | 30 | °C | 0.99 | 1.045 | 1.1 | 8 | 10.5 | 13 | kPa | 0.9 | 1 | 1.1 | mPa∙s | 1.9 | kJ/kg·K | 0.2 | mg/kg | 0.12 | ppm | 5 | °C | KT | Sand |  |  | 5.8 | m3/h | 0.03 | 0.036 | 0.17 | 0.187 | Mpa | 0.14 | Mpa |  | 9.5 | m | 0.2244 |  |  | 150# RF | 150# RF | Side | Side | Near Centerline | Radial | No | No | No | Mech Seal | 51 | Single | External | Water | Yes | Water | 43 | No | No | Class-a | Grease | Plug | Oil Pan | Plug | 31 | -126 | °C | Req'd | SCS13a | SCS13 | CS1 | SS1 |  | CS3 | Carbon | Non-Asbestos | API676 | 22 | KW | Direct/Flexible | Yes | 80 | [11 empty] | Variable Speed | Bayer | Pneumatic | Integrated | 0.1955 | Mpa | Internal Gear | Internal | Overhung | No | [16 empty] | test1-PU-355AB | test2-PU-355A | test3-PU-355B
2F2013XXX | ABCD Oil Ltd. | XXX Plant | CC Area | PO-1234567 | XX-S-ZZ-DS-002-01 | 2015-05-14 | AH | IQ-XXX-0002 | PU-461AB | PU-461A | PU-461B | Solution-A Supply Pump | CANNED | 0 | Horizontal | 1 | 1 | Motor | PU-661A/M | Motor | PU-661B/M | Outdoor | Class I Div2 | Continuous | Yes | PU-665AB | Solution-A | Flammable | 10 | 20 | 30 | T1 | 0.756 | 0.798 | 0.84 | 12.1 | 14.55 | 17 | T2 | 0.54 | 0.66 | 0.78 | T3 | 1.8 | T4 | 0.01 | T5 | 0.02 | T6 | 76 | T7 | H2S | Sand | 1.2 | 5.25 | 21 | T8 | 0.01 | 0.012 | 0.23 | 0.253 | T9 | 0.22 | T10 | 26.7 | 8.9 | T11 | 0.3036 |  | T12 | 150# RF | 150# RF | End | Top | Centerline | Radial | Yes | No | H-125mm |  |  |  | External | Water | Yes | Water |  | No | Yes | Class-a | Self | Plug | MFR Std | Valve |  | -164 | T12 | Req'd | SCS13a | SCS13 | SS1 | SS2 | SS3 | SS4 | SS5 | Non-Asbestos | MFR Std | 23 | T13 |  |  | 80 | SS6 | SS7 | Carbon | SS3 | Mech | Yes1 | Yes2 | Yes3 | STD | Note-1a | Note-2a | [26 empty] | test1-PU-461AB | test2-PU-461A | test3-PU-461B
2F2013XXX | ABCD Oil Ltd. | XXX Plant | CC Area | PO-1234567 | XX-S-ZZ-DS-001-05 | 2015-05-14 | AH | IQ-XXX-0001 | PU-455AB | PU-455A | PU-455B | Fluid-E Supply Pump | CENTRI | 0 | Horizontal | 1 | 1 | Motor | PU-655A/M | Motor | PU-655B/M | Under Roof | Non-Hazard | Continuous |  |  | Fluid-E | Other | 5 | 15 | 25 | °C | 0.78 | 0.793 | 0.805 | 5.3 | 10.65 | 16 | kPa | 0.54 | 0.66 | 0.78 | mPa∙s | 4.186 | kJ/kg·K |  |  |  | ppm |  | °C |  |  | 1.5 | 3.87 | 5.8 | m3/h | -0.005 | -0.006 | 0.25 | 0.275 | Mpa | 0.255 | Mpa | 32.3 | 7.9 | m | 0.33 |  |  | 150# RF | 150# RF | End | Top | Foot | Radial | No | No | H-125mm | Mech Seal | 51 | Single | Self | No | No |  | 42 | No | No | Class-a | Oil Splash | Valve | Oil Pan | None | 31 |  |  |  | SCS13a | SCS13 | SS1 | SS2 | SS3 | SS4 | SS5 | Non-Asbestos | API610 | 24 | KW | Direct/Flexible |  | 80 | [37 empty] | test1-PU-455AB | test2-PU-455A | test3-PU-455B
2F2013XXX | ABCD Oil Ltd. | XXX Plant | CC Area | PO-1234567 | XX-S-ZZ-DS-003-01 | 2015-05-14 | AH | IQ-XXX-0004 | PU-456AB | PU-456A | PU-456B | Chemical-A Injection Pump | RECIPRO | 0 | Horizontal | 1 | 1 | Motor | PU-656A/M | Motor | PU-656B/M | Outdoor | Non-Hazard | Continuous | Yes |  | Chemical-A | Hazardous | 10 | 20 | 30 | T1 | 0.756 | 0.798 | 0.84 | 12.1 | 14.55 | 17 | T2 | 0.54 | 0.66 | 0.78 | T3 | 4.2 | T4 | 0.22 | T5 | 1.2 | T6 | 55 | T7 | H2S | Sand |  |  | 7.6 | T8 | 0.03 | 0.036 | 0.34 | 0.374 | T9 | 0.31 | T10 |  | 9.4 | T11 | 0.4488 |  |  | 150# RF | 150# RF | Bottom | Top | Foot |  | Yes | No | H-125mm | Grand Packing | 51 | Single | Self | No | No | [5 empty] | Forced Feed | Plug | Oil Pan | Plug | 31 | -144 | T12 | Req'd | SCS13a | SCS13 | CS1 | SS | CS2 | CS3 | CS4 | Non-Asbestos | API674 | 25 | T13 | Direct/Flexible |  | 80 | [11 empty] | Variable Speed | Bayer | Pneumatic | External | 0.391 | T14 |  |  |  |  | 6 | Multiplex | Plunger | Single Acting | 3 | Vertical | None | Ball | Air Bladder |  |  | T31 |  | T32 |  |  | test1-PU-456AB | test2-PU-456A | test3-PU-456B
2F2013XXX | ABCD Oil Ltd. | XXX Plant | CC Area | PO-1234567 | XX-S-ZZ-DS-003-01 | 2015-05-14 | AH | IQ-XXX-0004 | PU-457AB | PU-457A | PU-457B | Chemical-B Injection Pump | RECIPRO | 0 | Horizontal | 1 | 1 | Motor | PU-656A/M | Motor | PU-656B/M | Indoor | Class I Div1 | Continuous | Yes |  | Chemical-A | Flammable | 10 | 20 | 30 | °C | 0.756 | 0.798 | 0.84 | 12.1 | 14.55 | 17 | kPa | 0.54 | 0.66 | 0.78 | mPa∙s | 4.2 | kJ/kg·K | 0.22 | mg/kg | 1.2 | ppm | 55 | °C | H2S | Sand |  |  | 7.6 | m3/h | 0.03 | 0.036 | 0.34 | 0.374 | Mpa | 0.31 | Mpa |  | 8.6 | m | 0.4488 |  |  | 150# RF | 150# RF | Bottom | Top | Near Centerline |  | Yes | No | H-125mm | Grand Packing | 51 | Single | Self | No | No | [5 empty] | Oil Ring | Valve | MFR Std | Valve | 31 | -144 | ℃ | Req'd | SCS13a | SCS13 | CS1 | SS | CS2 | CS3 | CS4 | Non-Asbestos | API674 | 25 | KW | Direct/Flexible |  | 80 | [11 empty] | Flow Bypass |  |  | Integrated | 0.391 | Mpa |  |  |  |  | 6 | Simplex | Plunger | Single Acting | 3 | Vertical | None | Wing | by Purchaser |  |  | Mpa |  | °C |  |  | test1-PU-457AB | test2-PU-457A | test3-PU-457B
2F2013XXX | ABCD Oil Ltd. | XXX Plant | CC Area | PO-1234567 | XX-S-ZZ-DS-001-06 | 2015-05-14 | AH | IQ-XXX-0001 | PU-458AB | PU-458A | PU-458B | Fluid-F Supply Pump | CENTRI | 0 | Horizontal | 1 | 1 | Motor | PU-657A/M | Motor | PU-657B/M | Outdoor | Class I Div2 | Continuous |  |  | Fluid-F | Other | 5 | 15 | 25 | °C | 0.78 | 0.793 | 0.805 | 5.3 | 10.65 | 16 | kPa | 0.54 | 0.66 | 0.78 | mPa∙s | 4.186 | kJ/kg·K | 1.2 | mg/kg |  | ppm |  | °C |  |  | 1.6 | 3.87 | 5.8 | m3/h | 0.02 | 0.024 | 0.15 | 0.165 | Mpa | 0.13 | Mpa | 16.5 | 9.6 | m | 0.198 |  |  | 150# RF | 150# RF | End | Top | Foot | Radial | No | No | No | Mech Seal | 51 | Single | Self | No | No |  | 42 | No | No | Class-a | Oil Splash | Plug | Oil Pan | Plug | 31 |  |  |  | SCS13a | SCS13 | SS1 | SS2 | SS3 | SS4 | SS5 | Non-Asbestos | API610 | 26 | KW | Direct/Flexible |  | 80 | [37 empty] | test1-PU-458AB | test2-PU-458A | test3-PU-458B
2F2013XXX | ABCD Oil Ltd. | XXX Plant | DD Area | PO-1234567 | XX-S-ZZ-DS-003-02 | 2015-05-14 | AH | IQ-XXX-0003 | PU-559AB | PU-559A | PU-559B | Heavy Oil-B Pump | ROTARY | 0 | Horizontal | 1 | 1 | Motor | PU-658A/M | Motor | PU-658B/M | Indoor-Unheated | Class I Div2 | Continuous |  |  | Heavy Oil-B | Flammable | 5 | 15 | 25 | °C | 0.78 | 0.793 | 0.805 | 5.3 | 10.65 | 16 | kPa | 0.54 | 0.66 | 0.78 | mPa∙s | 1.9 | kJ/kg·K |  |  | 0.1 | ppm |  | °C |  |  |  |  | 5.8 | m3/h | 0.04 | 0.048 | 0.18 | 0.198 | Mpa | 0.14 | Mpa |  | 9.4 | m | 0.2376 |  |  | 150# RF | 150# RF | Side | Side | Inline | Radial | Yes | No | H-125mm | Mech Seal | 51 | Single | Self | No | No |  | 42 | No | No | Class-a | Sealed | None | Skid | None | 31 |  | °C |  | SCS13a | SCS13 | SS1 | SS2 | Carbone | SS4 | SS5 | Non-Asbestos | API676 | 27 | KW | Direct/Flexible |  | 80 | [11 empty] | Variable Speed | Variable Motor | Electrical | External | 0.207 | Mpa | Twin Screw | External | BTWN Bearing | Yes | [16 empty] | test1-PU-559AB | test2-PU-559A | test3-PU-559B
2F2013XXX | ABCD Oil Ltd. | XXX Plant | DD Area | PO-1234567 | XX-S-ZZ-DS-003-01 | 2015-05-14 | AH | IQ-XXX-0004 | PU-557AB | PU-557A | PU-557B | Chemical-B Injection Pump | RECIPRO | 0 | Horizontal | 1 | 1 | Motor | PU-656A/M | Motor | PU-656B/M | Indoor-Unheated | Class I Div2 | Intermittent | Yes |  | Chemical-A | Flammable | 10 | 20 | 30 | °C | 0.756 | 0.798 | 0.84 | 12.1 | 14.55 | 17 | kPa | 0.54 | 0.66 | 0.78 | mPa∙s | 4.2 | kJ/kg·K | 0.22 | mg/kg | 1.2 | ppm | 55 | °C | H2S | Sand |  |  | 7.6 | m3/h | 0.03 | 0.036 | 0.34 | 0.374 | Mpa | 0.31 | Mpa |  | 9.3 | m | 0.4488 |  |  | 150# RF | 150# RF | Bottom | Top | Separate Mount |  | Yes | No | H-125mm | Grand Packing | 51 | Single | Self | No | No | [5 empty] | Oil Splash | None | skid | None | 31 | -144 | ℃ | Req'd | SCS13a | SCS13 | CS1 | SS | CS2 | CS3 | CS4 | Non-Asbestos | API674 | 25 | KW | Direct/Flexible |  | 80 | [11 empty] | Variable Speed | Bayer | Pneumatic | Integrated | 0.391 | Mpa |  |  |  |  | 6 | Simplex | Plunger | Single Acting | 3 | Vertical | None | Wing | Air Chamber |  |  | Mpa |  | °C |  |  | test1-PU-557AB | test2-PU-557A | test3-PU-557B
2F2013XXX | ABCD Oil Ltd. | XXX Plant | DD Area | PO-1234567 | XX-S-ZZ-DS-003-03 | 2015-05-14 | AH | IQ-XXX-0003 | PU-560AB | PU-560A | PU-560B | Heavy Oil-C Pump | ROTARY | 0 | Horizontal | 1 | 1 | Motor | PU-659A/M | Motor | PU-659B/M | Under Roof | Non-Hazard | Continuous |  |  | Heavy Oil-C | Flammable | 5 | 15 | 25 | °C | 0.78 | 0.793 | 0.805 | 5.3 | 10.65 | 16 | kPa | 0.54 | 0.66 | 0.78 | mPa∙s | 1.9 | kJ/kg·K |  |  |  | ppm | 75 | °C |  |  |  |  | 5.8 | m3/h | 0.02 | 0.024 | 0.17 | 0.187 | Mpa | 0.15 | Mpa |  | 9.2 | m | 0.2244 |  |  | 150# RF | 150# RF | Side | Side | Separate Mount | Radial | No | No | No | Mech Seal | 51 | Single | Self | No | No |  | 43 | No | No | Class-a | Oil Splash | Valve | MFR Std | Valve | 31 |  |  |  | SCS13a | SCS13 | SS1 | SS2 | SS3 | SS4 | SS5 | Non-Asbestos | API676 | 28 | KW | Direct/Flexible |  | 80 | [11 empty] | Flow Bypass |  |  |  | 0.1955 | Mpa | Progressing Cavity | External | BTWN Bearing | Yes | [16 empty] | test1-PU-560AB | test2-PU-560A | test3-PU-560B
2F2013XXX | ABCD Oil Ltd. | XXX Plant | EE Area | PO-1234567 | XX-S-ZZ-DS-002-02 | 2015-05-14 | AH | IQ-XXX-0002 | PU-662AB | PU-662A | PU-662B | Solution-B Supply Pump | CANNED | 0 | Horizontal | 1 | 1 | Motor | PU-662A/M | Motor | PU-662B/M | Indoor-Unheated | Class I Div1 | Intermittent | No |  | Solution-B | Flammable | 5 | 15 | 25 | °C | 0.78 | 0.793 | 0.805 | 5.3 | 10.65 | 16 | kPa | 0.54 | 0.66 | 0.78 | mPa∙s | 1.8 | kJ/kg·K |  |  |  | ppm |  | °C |  |  |  | 3.87 | 5.8 | m3/h | 0.02 | 0.024 | 0.19 | 0.209 | Mpa | 0.17 | Mpa | 21.5 | 8.8 | m | 0.2508 |  |  | 150# RF | 150# RF | End | Top | Inline | Radial | No | No | No |  |  |  | Self | No | No | [5 empty] | Self Feed | Valve | Oil Pan | Plug |  |  |  |  | SCS13a | SCS13 | CS1 | SS | CS2 | CS3 | CS4 | Non-Asbestos | MFR Std | 30 | KW |  |  | 80 | SS6 | SS7 | Carbon | SS3 | Electro | Yes1 | Yes2 | Yes3 | Class II | [28 empty] | test1-PU-662AB | test2-PU-662A | test3-PU-662B
2F2013XXX | ABCD Oil Ltd. | XXX Plant | EE Area | PO-1234567 | XX-S-ZZ-DS-003-02 | 2015-05-14 | AH | IQ-XXX-0004 | PU-663AB | PU-663A | PU-663B | Chemical-B Injection Pump | METERING | 0 | Horizontal | 1 | 1 | Motor | PU-663A/M | Motor | PU-663B/M | Intdoor | Non-Hazard | Continuous | Yes |  | Chemical-B | Hazardous | 5 | 15 | 25 | T1 | 0.78 | 0.793 | 0.805 | 5.3 | 10.65 | 16 | T2 | 0.54 | 0.66 | 0.78 | T3 | 1.8 | T4 | 0.22 | T5 | 1.2 | T6 | 55 | T7 | H2S | No |  |  | 5 | T8 | 0.03 | 0.036 | 0.22 | 0.242 | T9 | 0.19 | T10 |  | 8.9 | T11 | 0.2904 |  |  | 150# RF | 150# RF | Bottom | Top |  |  | Yes | No | H-125mm | Diaphragm | 51 | Single | Self | No | No | [5 empty] | Self Feed | Valve | Oil Pan | Valve | 31 | -144 | T12 | Req'd | SCS13a | SCS13 |  | Teflon |  | SUS304 | SUS304 | Non-Asbestos | API675 | 32 | T13 | Direct/Flexible |  | 80 | [11 empty] | Stroke Control |  | Pneumatic | Integrated | 0.253 | T12 |  |  |  |  | 5 | Single | Diaphragm | Single Acting | 3 | Horizontal | None | Ball | Air Bladder | [7 empty] | test1-PU-663AB | test2-PU-663A | test3-PU-663B
2F2013XXX | ABCD Oil Ltd. | XXX Plant | FF Area | PO-1234567 | XX-S-ZZ-DS-002-03 | 2015-05-14 | AH | IQ-XXX-0002 | PU-764AB | PU-764A | PU-764B | Solution-C Supply Pump | CANNED | 0 | Horizontal | 1 | 1 | Motor | PU-664A/M | Motor | PU-664B/M | Indoor | Class I Div2 | Continuous |  |  | Solution-C | Other | 5 | 15 | 25 | °C | 0.78 | 0.793 | 0.805 | 5.3 | 10.65 | 16 | kPa | 0.54 | 0.66 | 0.78 | mPa∙s | 4.186 | kJ/kg·K |  |  |  | ppm |  | °C |  |  |  | 3.87 | 5.8 | m3/h | 0.01 | 0.012 | 0.22 | 0.242 | Mpa | 0.21 | Mpa | 26.6 | 8.7 | m | 0.2904 |  |  | 150# RF | 150# RF | End | Top | Near Centerline | Radial | No | No | No |  |  |  | Self | No | No | [5 empty] | Self | None | MFR Std | None |  |  |  |  | SCS13a | SCS13 | SS1 | SS2 | SS3 | SS4 | SS5 | Non-Asbestos | MFR Std | 33 | KW |  |  | 80 | SS6 | SS7 | Carbon | SS3 | Mech | Yes1 | Yes2 | Yes3 | STD | [28 empty] | test1-PU-764AB | test2-PU-764A | test3-PU-764B
2F2013XXX | ABCD Oil Ltd. | XXX Plant | FF Area | PO-1234567 | XX-S-ZZ-DS-002-04 | 2015-05-14 | AH | IQ-XXX-0002 | PU-765AB | PU-765A | PU-765B | Solution-D Supply Pump | CANNED | 0 | Horizontal | 1 | 1 | Motor | PU-665A/M | Motor | PU-665B/M | Under Roof | Non-Hazard | Continuous |  |  | Solution-D | Other | 5 | 15 | 25 | °C | 0.78 | 0.793 | 0.805 | 5.3 | 10.65 | 16 | kPa | 0.54 | 0.66 | 0.78 | mPa∙s | 4.186 | kJ/kg·K |  |  |  | ppm |  | °C |  |  |  | 3.87 | 5.8 | m3/h | 0.015 | 0.018 | 0.12 | 0.132 | Mpa | 0.105 | Mpa | 13.3 | 8.6 | m | 0.1584 |  |  | 150# RF | 150# RF | End | Top | Foot | Radial | No | No | No |  |  |  | Self | No | No | [5 empty] | Self | Valve | MFR Std | Valve |  |  |  |  | SCS13a | SCS13 | CS1 | SS | CS2 | CS3 | CS4 | Non-Asbestos | MFR Std | 34 | KW |  |  | 80 | SS6 | SS7 | Carbon | SS3 |  | Yes1 | Yes2 | Yes3 | STD | [28 empty] | test1-PU-765AB | test2-PU-765A | test3-PU-765B
2F2013XXX | ABCD Oil Ltd. | XXX Plant | FF Area | PO-1234567 | XX-S-ZZ-DS-003-03 | 2015-05-14 | AH | IQ-XXX-0004 | PU-766AB | PU-766A | PU-766B | Chemical-C Injection Pump | RECIPRO | 0 | Horizontal | 1 | 1 | Motor | PU-666A/M | Motor | PU-666B/M | Under Roof | Non-Hazard | Continuous |  |  | Chemical-C | Other | 5 | 15 | 25 | °C | 0.78 | 0.793 | 0.805 | 5.3 | 10.65 | 16 | kPa | 0.54 | 0.66 | 0.78 | mPa∙s | 2.1 | kJ/kg·K |  |  |  | ppm |  | °C |  |  |  |  | 5.8 | m3/h | 0.03 | 0.036 | 0.15 | 0.165 | Mpa | 0.12 | Mpa |  | 8.4 | m | 0.198 |  |  | 150# RF | 150# RF | Bottom | Top | Inline |  | No | No | No | Grand Packing | 51 | Single | Self | No | No | [5 empty] | Forced Feed | None | Oil Pan | None | 31 |  |  |  | SCS13a | SCS13 | CS1 | SS | CS2 | CS3 | CS4 | Non-Asbestos | API674 |  | KW | Direct/Flexible |  | 80 | [11 empty] | Variable Speed |  |  | by Purchaser | 0.1725 | Mpa |  |  |  |  | 5 | Simplex | Piston | Double Acting | 1 | Horizontal | Removable | Disc |  | Steam | 0.12 | Mpa | 120 | °C | 0.01 | Mechanical | test1-PU-766AB | test2-PU-766A | test3-PU-766B
2F2013XXX | ABCD Oil Ltd. | XXX Plant | FF Area | PO-1234567 | XX-S-ZZ-DS-003-04 | 2015-05-14 | AH | IQ-XXX-0004 | PU-767AB | PU-767A | PU-767B | Chemical-D Injection Pump | METERING | 0 | Horizontal | 1 | 1 | Motor | PU-667A/M | Motor | PU-667B/M | Outdoor | Class I Div2 | Intermittent |  |  | Chemical-D | Flammable | 5 | 15 | 25 | °C | 0.78 | 0.793 | 0.805 | 5.3 | 10.65 | 16 | kPa | 0.54 | 0.66 | 0.78 | mPa∙s | 2.1 | kJ/kg·K | 1.2 | mg/kg |  | ppm |  | °C |  |  |  |  | 5.8 | m3/h | 0.024 | 0.0288 | 0.19 | 0.209 | Mpa | 0.166 | Mpa |  | 8.3 | m | 0.2508 |  |  | 150# RF | 150# RF | Bottom | Top |  |  | No | No | No | Grand Packing | 51 | Single | Self | No | No | [5 empty] | Self Feed | Plug | MFR Std | Plug | 31 |  |  |  | SCS13a | SCS13 |  | Chloroprene Rubber |  | SUS304a | SUS304b | Chloroprene Rubber | API675 | 25 | KW | Direct/Flexible |  | 80 | [11 empty] | Variable Speed | Bayer | Electrical | External | 0.2185 | Mpa |  |  |  |  | 6 | Single | Plunger | Single Acting | 3 | Horizontal | None | Wing | Air Chamber | [7 empty] | test1-PU-767AB | test2-PU-767A | test3-PU-767B
2F2013XXX | ABCD Oil Ltd. | XXX Plant | FF Area | PO-1234567 | XX-S-ZZ-DS-003-04 | 2015-05-14 | AH | IQ-XXX-0004 | PU-768AB | PU-768A | PU-768B | Chemical-E Injection Pump | METERING | 0 | Horizontal | 1 | 1 | Motor | PU-667A/M | Motor | PU-667B/M | Under Roof | Class I Div1 | Continuous |  |  | Chemical-D | Other | 5 | 15 | 25 | °C | 0.78 | 0.793 | 0.805 | 5.3 | 10.65 | 16 | kPa | 0.54 | 0.66 | 0.78 | mPa∙s | 2.1 | kJ/kg·K |  |  |  | ppm |  | °C |  |  |  |  | 5.8 | m3/h | 0.024 | 0.0288 | 0.19 | 0.209 | Mpa | 0.166 | Mpa |  | 8.3 | m | 0.2508 |  |  | 150#RF | 150#RF | Bottom | Top |  |  | No | No | No | Grand Packing | 51 | Single | Self | No | No | [5 empty] | Self Feed | None | MFR Std | None | 31 |  |  |  | SCS13a | SCS13 |  | Teflon |  | SUS305a | SUS305b | Non-Asbestos - Test | API675 | 25 | KW | Direct/Flexible |  | 80 | [11 empty] | Variable Speed | Variable Motor | Electrical | External | 0.2185 | Mpa |  |  |  |  | 6 | Single | Plunger | Single Acting | 3 | Vertical | None | Disc | [8 empty] | test1-PU-768AB | test2-PU-768A | test3-PU-768B
Centri
Canned
Rotary
Recipro
Metering
全再表示

## Data
Type_1 | Type_2 | Out_In_door | Hazard | Continuous | Para_Ope | H_F_O | Case_Mount | Case_Split | BRG_Lube | Case_V_D | Base_Plate | Req_N | Nozzle_Position | Rotary_Type | Bearing | Rotor_Mount | Timing_Gear | R_Valve | Capa_Control | Valiable_Speed | C_Signal | R_Liquid_End | R_Plunger | R_S_D_Acting | R_Cyl_Layout | Liner | Valve_Type | Suppressor
CENTRI | Horizontal | Outdoor | Class I Div1 | Continuous | Yes | Hazardous | Centerline | Radial | Oil Splash | Valve | Oil Pan | Req'd | End | Internal Gear | Internal | BTWN Bearing | Yes | Integrated | Flow Bypass | Bayer | Electrical | Simplex | Plunger | Single Acting | Horizontal | Removable | Disc | Air Bladder
CANNED | Vertical | Indoor | Class I Div2 | Intermittent | No | Flammable | Near Centerline | Axial | Oil Ring | Plug | MFR Std |  | Top | Twin Screw | External | Overhung | No | External | Variable Speed | Variable Motor | Pneumatic | Duplex | Piston | Double Acting | Vertical | None | Wing | Air Chamber
ROTARY |  | Indoor-Heated | Non-Hazard |  |  | Other | Foot |  | Grease | None | Skid |  | Side | Vane |  |  |  |  | Stroke Control |  |  | Multiplex | Diaphragm |  |  |  | Ball | by Purchaser
RECIPRO |  | Indoor-Unheated |  |  |  |  | Inline |  | Sealed |  |  |  | Bottom | External Gear | [12 empty] | 2'ble Ported
METERING |  | Under Roof |  |  |  |  | Separate Mount |  | Self |  |  |  |  | 3-Screw
[9 empty] | Forced Feed |  |  |  |  | Progressing Cavity
Self Feed